## STATUS OF FI CASES
STATUS OF FIRE INCIDENTS CASES
PERIOD | Fire Under Investigation | Closed Case | Others | Total
January | 0 | 24 |  | 24
February | 2 | 19 |  | 21
March | 4 | 19 |  | 23
April | 3 | 24 |  | 27
May | 1 | 26 |  | 27
June | 0 | 25 |  | 25
July | 5 | 17 |  | 22
August | 2 | 19 | 1 | 22
September | 3 | 18 |  | 21
October | 2 | 22 |  | 24
November | 2 | 22 |  | 24
December | 2 | 22 |  | 24
TOTAL | 26 | 257 | 1 | 284

## MO1-2022
FIRE INCIDENT REPORT IN MAKATI CITY
01-31 December 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
F | 1 | 02 Dec 2022 2204H | Freedom Park Buendia cor. Ayala Ave. Ext. Brgy. San Antonio, Makati City | Non_Structural/Post Fire/Meralco | Electrical ignition caused by overloading | Fireout Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
F | 2 | 02 Dec 2022 2142H | 1590 Iriga St., Brgy.San Antonio, Makati City | 4 Storey Residential/Single Family Dwelling/Alteria Land Inc | Electrical Ignition caused by Arcing | Fireout Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
M | 3 | 05 Dec 2022 1602H | 85 Alligator St., Brgy. Rizal, Makati City | Residential/Single Family Dwelling/ No. of Affected Structrure: 1 | Open flame from Cooking (firewood) | 1st Alarm | Negative | Negative | 5000 | SFO1 Umnas/SFO1 Balleta | 218050
M | 4 | 05 Dec 2022 1655H | 5895 Zobel Roxas cor. Arellano St., Brgy. Palanan, Makati City | Residential(informal settlers)/Single Family Dwelling/ No. of Affected Structrure: 1 | Fire Under Investigation (on process) Cause: | 1st Alarm | Negative | Negative | 25000 | SFO1 Umnas/SFO1 Balleta
W | 5 | 07 Dec 2022 1152H | 0051 Daffodil St., Zone 1 Brgy Rizal, Makati City | Non_Structural/Post Fire/Meralco | electrical ignition caused by loosed connection | Fireout Upon Arrival | Negative | Negative | 500 | SFO1 Umnas/SFO1 Balleta
TH | 6 | 08 Dec 2022 0445H | B109 Lot 24 Ricarte St., Brgy Rizal, Makati City | Residential/Single Family Dwelling/ | Unattended lighted candle | Fireout Upon Arrival | Negative | Negative | 500 | SFO1 Umnas/SFO1 Balleta
TH | 7 | 08 Dec 2022 0736H | 6750 Ayala Office Tower, Ayala Ave, Brgy San Lorenzo, Makati City | Non_Residential/Mercantile/Starbucks Coffee/ | Electrical ignition caused by loosed connection | Fireout Upon Arrival | Negative | Negative | 1000 | SFO1 Umnas/SFO1 Balleta
SA | 8 | 10 Dec 2022 1916H | Blk 55 Lot 12 Mansanas St., Zone 1, Brgy. Rizal, Makati City | Non_Structural/Post Fire/Meralco | electrical ignition caused by loosed connection | Fireout Upon Arrival | Negative | Negative | 500 | SFO1 Umnas/SFO1 Balleta
SA | 9 | 10 Dec 2022 2021H | 0005 Kalaw St., Zone 1, Brgy. Rizal, Makati City | Residential/Single Family Dwelling | electrical ignition caused by loosed connection | Fireout Upon Arrival | Negative | Negative | 500 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
M | 10 | 12 Dec 2022 1028H | #130 Caimito St., Brgy. Cembo, Makati City | 3 Storey Residential/Single Family Dwelling/ No. of Affected Structrure: 1 | Fire Under Investigation (on process) | 1st Alarm | Negative | Negative | 180000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
M | 11 | 12 Dec 2022 2003H | Malvar St., cor. MH Del Pilar St., Brgy. Rizal, Makati City | 3 Storey Residential/Single Family Dwelling/ | Open flame from Unattended Cooking (Stove) | Fireout Upon Arrival | Negative | Negative | 500 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
M | 12 | 12 Dec 2022 2203H | #7409 Infanta St., Brgy. Olympia, Makati City | 3 Storey Residential/Single Family Dwelling/ | Open flame from unattended lighted candle | No Alarm | Negative | Negative | 600 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
W | 13 | 14 Dec 2022 1819H | #1178 Pablo Ocampo St., Brgy. Sta. Cruz, Makati City | 7 Storey Non_Residential/Business/ | Ignition of materials caused by acetylene/hotworkks | Fireout Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
TH | 14 | 15 Dec 2022 1249H | J.P Rizal cor. Ilaya Sts., Brgy. Poblacion, Makati City | Transport/Automobile/Nissan Frontier/ | Ignition of materials caused by acetylene/hotworkks | Fireout Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
TH | 15 | 15 Dec 2022 1600H | Juno Junk Shop Zobel Roxas, Brgy. La Paz, Makati City | Non_Structural/Rubbish Fire/ | Smoking (lighted cigarette) | No Alarm | Negative | Negative | 0 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
SU | 16 | 18 Dec 2022 2252H | 151-0 18th Ave., cor. Mapayapa St., Brgy. East Rembo, Makati City | Residential/Single Family Dwelling/ | Open flame from Cooking(Stove) | Fireout Upon Arrival | Negative |  | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
TU | 17 | 20 Dec 2022 2245H | 2969 A Bonifacio St., Brgy. Poblacion, Makati City | Non_Structural/Post Fire/Meralco | Electrical ignition caused by loosed connection | No Alarm | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Balleta
W | 18 | 21 Dec 2022 0023H | 8439 Kalayaan Ave., Brgy. Poblacion, Makati City | Non_Residential/Mercantile/Toker Bar & Restaurant/Mr Harry Cui/With FSIC | Open flame from Cooking (Grilling Machine) | Fireout Upon Arrival | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Balleta
F | 19 | 23 Dec 2022 1512H | North EDSA (Bus Stop), Brgy. Magallanes, Makati City | Transport_Automobile Hyundai Accent PN | Electrical Ignition caused by Arcing | No Alarm | Negative | Negative | 10000 | SFO1 Pacubat/SFO1 Balleta
SA | 20 | 24 Dec 2022 1346H | 264 Blk. 8, T. Alonzo St., Brgy. West Rembo, Makati City | Residential_Single/ | Open Flame from Cooking | No Alarm | Negative | Negative | 200 | SFO1 Pacubat/SFO1 Balleta
SA | 21 | 24 Dec 2022 1833H | #7166 M. Ocampo St., Brgy. Pio del Pilar, Makati City | Non_Structural/Post Fire/Meralco/Makati LGU | Electrical ignition caused by loosed connection | Fireout Upon Arrival | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Balleta
M | 22 | 26 Dec 2022 1405H | 166 Mayon St, Brgy Southside Palar, Makati City | Residential_Single/ | Open Flame from Cooking (Firewood) | Fireout Upon Arrival | Negative |  | 3750 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
W | 23 | 28 Dec 2022 1229H | Along Skyway Northbound, Magallanes, Makati City | Transport_Automobile Mitsubishi L300 Van, color white, | Battery Short Circuit/Battery Explosion | Fireout Upon Arrival | Negative | Negative | 300000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
SA | 24 | 31 Dec 2022 2311H | M.H. Del Pilar St, Zone 2 ,Brgy. Rizal, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by Arcing | No Alarm | Negative | Negative | 200 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
534750
FIRE INCIDENT REPORT IN MAKATI CITY
01-30 November 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
tu | 1 | 01 Nov 2022 1229H | Blk 12 Lot 14 Pitimini St., Brgy. Pembo, Makati City | Residential/Single Family Dwelling/ | Unattended Lighted Candle | Fireout Upon Arrival | Negative | Negative | 3000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
tu | 2 | 01 Nov 2022 1539H | 8/F VICTORIA DE MAKATI Washington cor. Dela Rosa Sts., Brgy. Pio Del Pilar, Makati City | 21 Storey Condominium/ | Electrical ignition caused by overloading | Fireout Upon Arrival | Negative | Negative | 3000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
tu | 3 | 01 Nov 2022 1912H | #5015 Duran St., Brgy. Poblacion, Makati City | 2 Storey Non_Residential/Assembly | Electrical ignition caused by overloading | Fireout Upon Arrival | Negative | Negative | 3000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
tu | 4 | 01 Nov 2022 2045H | 5411 Curie St., Brgy. Palanan, Makati City | Residential/Single and Two Family Dwelling | Electrical ignition caused by overloading | Fireout Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
th | 5 | 03 Nov 2022 1017H | #7145-D Lanzones St., Brgy. Comembo, Makati City | Residential/Single and Two Family Dwelling/2 Storey | UNDER INVESTIGATION Cause: Electrical Ignition Caused by Arcing | 1st Alarm | Negative | Negative | 1200000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
th | 6 | 03 Nov 2022 1238H | #4962 Enriques St., Brgy. Palanan, Makati City | Residential/Single and Two Family Dwelling/2 Storey/ | UNDER INVESTIGATION Cause: Overheated laptop left unattended while charging | 1st Alarm | Negative | Negative | 3000000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
f | 7 | 04 Nov 2022 1110H | Mascardo cor. Evangelista Sts., Brgy. Bangkal, Makati City | Transport_Tricycle/ | Overheated engine | Fire Out Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
sa | 8 | 05 Nov 2022 2212H | #8418 Mayapis St., Brgy. San Antonio, Makati City | Residential/Single and Two Family Dwelling/2 Storey | Electrical ignition caused by overloading | Fire Out Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
su | 9 | 06 Nov 2022 1109H | Floraville cor. Pascua Sts., Brgy. Rizal, Makati City | Non_Residential/Mercantile | Open Flame from Cooking (Burner) | Fire Out Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
su | 10 | 07 Nov 2022 0528H | #1206 C. Francisco St Brgy. Kasilawan, Maktai City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by Arcing | Fire Out Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, FO3 Batalla
f | 11 | 11 Nov 2022 0702H | No. 102 Blk 3 Hidalgo St., Brgy. West Rembo, Makati City | Residential/Single and Two Family Dwelling/2 Storey/ | Electrical Ignition caused by loosed connection | No Alarm | Negative | Negative | 500 | SFO1 Balleta/SFO1 Umnas/SFO1 Pacubat
m | 12 | 14 Nov 2022 0515H | # 6587 Washington St., Brgy. Pio Del Pilar, Makati City | Residential/Single and Two Family Dwelling/3 Storey/ | Open Flame from Unattended Lighted Candle | Fire Out Upon Arrival | Negative | Rolando Cosio - 75 y/o, suffered 1st Degree Burn on both arms | 45000 | SFO1 Balleta/SFO1 Umnas/SFO1 Pacubat
w | 13 | 16 Nov 2022 0229H | 1147 Antipolo St, Brgy Valenzuela, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by Arcing | Fire Out Upon Arrival | Negative | Negative | 1000 | SFO4 Macababayao SFO1 Tuburan, SFO1 Balleta
w | 14 | 16 Nov 2022 1732H | 15H Tower 2 Paseo Parkview Suites, Valero St, Brgy. Bel-Air, Makati City | Residential_Condominium/15H Tower 2 | Open Flame from Cooking ( stove)gas | Unreported/unresponded | Negative | Negative | 5000 | SFO4 Macababayao SFO1 Tuburan, SFO1 Balleta
th | 15 | 17 Nov 2022 1032H | 9238 Pateros St., Brgy. Valenzuela, Makati City | Residential_Single and Two Family Dwelling/ | Electrical ignition caused by overloading | 1st Alarm | Negative | Negative | 30000 | SFO4 Macababayao SFO1 Tuburan, SFO1 Balleta
th | 16 | 17 Nov 2022 1141H | Burgos St., Brgy. Guadalupe Nuevo, Makati City | Non-Residential_Mercantile | Overheated Home Appliance | Fire Out Upon Arrival | Negative | Negative | 3000 | SFO4 Dalmacio SFO1 Tuburan, SFO1 Balleta
th | 17 | 17 Nov 2022 1320H | #6111 Albert St., Brgy. Poblacion, Makati City | Non-Residential_Mercantile/P | Overheated Home Appliance | Fire Out Upon Arrival | Negative | Negative | 3000 | SFO4 Dalmacio SFO1 Tuburan, SFO1 Balleta
f | 18 | 18 Nov 2022 2155H | 1221-C V Zamora St, Brgy Bangkal, Makati City | Residential_Single and Two Family Dwelling | Battery Short Circuit | Fire Out Upon Arrival | Negative | Negative | 48000 | SFO4 Dalmacio SFO1 Tuburan, SFO1 Balleta
su | 19 | 20 Nov 2022 0154H | #5514 D.M Rivera St., Brgy Poblacion Makati City | Residential_Single and Two Family Dwelling | Electrical Ignition caused by Arcing | Fire Out Upon Arrival | Negative | Negative | 1000 | SFO4 Dalmacio SFO1 Tuburan, SFO1 Balleta
tu | 20 | 22 Nov 2022 2015H | Maximo P Provido 0005 A(B) Waling-Waling St., Zone 7, Brgy. Pembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical ignition caused by Loosed connection | Fire Out Upon Arrival | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta
f | 21 | 25 Nov 2022 1126H | 482 Alagao St., Brgy. Comembo, Makati City | Residential_Single and Two Family Dwelling | Ignition of materials caused by welding slags | Fire Out Upon Arrival | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta
f | 22 | 25 Nov 2022 2106H | Adela St., South sea Brgy., Rizal, Makati City | Non_Structural/Post Fire/Meralco | Electrical ignition caused by Loosed connection | Fire Out Upon Arrival | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta
w | 23 | 26 Nov 2022 1728H | 14 Guadalupe Bliss Bldg. 15, Brgy. Cembo, Makati City | Residential_Single and Two Family Dwelling | Electrical ignition caused by Loosed connection | Fire Out Upon Arrival | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta
th | 24 | 27 Nov 2022 1142H | Premiere The Samgyupsal Restaurant, Assembly Grounds, 2/F The Rise, Malugay St., Brgy. San Antonio, Makati City | Non-Residential_Assembly/ | Open Flame from Cooking | Fire Out Upon Arrival | Negative | 1. Dharyl Hanna B Cerbo, 25 y/o, minor burns and difficulty of breathing 2. Carl Dimaano, 24 y/o, minor burns and difficulty of breathing 3. Wendel Romines, 24 y/o, minor burns and difficulty of breathing | 5000 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta
4357500
FIRE INCIDENT REPORT IN MAKATI CITY
01-31 October 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
SUN | 1 | 02 Oct 2022 1920H | Lot 7 Blk. 255, Zone 12, Emerald St., Brgy. Pembo, Makati City | Residential_Single Family Dwelling/ | Electrical Ignition caused by loosed connection |  | Negative | Negative | 2000 | SFO4 Dalmacio SFO1 Pacubat SFO1 Umnas SFO1 Balleta
TH | 2 | 06 Oct 2022 2143H | Dungo St, Brgy Palanan,Makati City | Residential/2 Storey Single and Two Family Dwelling/2 Storey | Electrical ignition caused by overloading |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
TH | 3 | 06 Oct 2022 2342H | Lariosa st, Brgy West Rembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical ignition caused by overloading |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
S | 4 | 08 Oct 2022 1439H | Ansons 2304 Along Chino Roces Ave. Brgy. Magallanes, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical ignition caused by overloading |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
S | 5 | 08 Oct 2022 2206H | Belarmino cor. Rodriquez Sts., Brgy. Bangkal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical ignition caused by overloading |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
SUN | 6 | 09 Oct 2022 0804H | G/F 3631 General Luna St, Bangkal, Makati | Non_Residential/Mercantile/Bubblyway Laundry Shop | Overheated Home Appliance |  | Negative | Negative | 1500 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
T | 7 | 11 Oct 2022 1852H | Honduras St., corner P. Binay Brgy. Pio del Pilar, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, FO3 Batalla
TH | 8 | 13 Oct 2022 0520H | E. Bonifaciio St., Brgy. Poblacion, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, FO3 Batalla
F | 9 | 14 Oct 2022 1919H | 4050 Progreso St., Brgy Guadalupe Viejo, Makati City | Residential/Single Family Dwelling/ | Electrical ignition caused by overloading | 1st Alarm | Negative | Negative | 18000 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, FO3 Batalla
W | 10 | 19 Oct 2022 1640H | Kalayaan Ave, Brgy. Guadalupe Nuevo, Makati City | Non_Structural/Rubbish | Other cause of fire incident |  | Negative | Negative | 0 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
TH | 11 | 20 Oct 2022 1609H | Pasong Tamo Cor. JP Rizal Sts., Brgy. Tejeros Makati City | Non_Structural/Electrical Pole/Meralco | Electrical ignition caused by overloading |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
F | 12 | 21 Oct 2022 2312H | Daffodil Extesion Brgy. Rizal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical ignition caused by overloading |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
S | 13 | 22 Oct 2022 0710H | Tylo cor. Dela Rosa Sts., Brgy. Pio Del Pilar, Makati City | Residential/Single Family Dwelling | Electrical Ignition caused by arcing |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
S | 14 | 22 Oct 2022 1759H | #0052 A Flare Thrower St. Plar-Armor Village Brgy. Rizal, Makati City | Non_Residential/Mercantile/Dada's Lechon | Electrical ignition caused by overloading |  | Negative | Negative | 1000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
S | 15 | 22 Oct 2022 2245H | Kakarong cor. Montojo Sts., Brgy. Sta. Cruz, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical ignition caused by overloading |  | Negative | Negative | 500 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
SUN | 16 | 23 Oct 2022 0705H | #18 JP Rizal St., Brgy. Comembo, Makati City | Non_Residential/2 Storey Mercantile/ | UNDER INVESTIGATION Cause: Electrical Ignition Caused by Overloading | 1st Alarm | Negative | Negative | 540000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
SUN | 17 | 23 Oct 2022 1137H | #5136 Zamora St., Brgy. Poblacion, Makati City | Non_Residential/Mercantile/Candy's Food Delivery | UNDER INVESTIGATION Cause: Open flame from high temperature flame torch which accicdentally lip up the LPG hose line | 1st Alarm | Negative | Negative | 1605000 | SFO4 Macababayao, SFO1 Tuburan, FO3 Batalla
T | 18 | 25 Oct 2022 1635H | #0081 MH Del Pilar, Brgy. Rizal, Makati City | Residential/Single Family Dwelling/ | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Dalmacio SFO1 Pacubat SFO1 Umnas SFO1 Balleta
T | 19 | 25 Oct 2022 2304H | 1634 Camino dela Fe St., Brgy. Guadalupe Nuevo, Makati City | Residential/Single Family Dwelling/ | Open flame ffrom cooking/LPG/Gas Stove |  | Negative | Negative | 300 | SFO4 Dalmacio SFO1 Pacubat SFO1 Umnas SFO1 Balleta
F | 20 | 28 Oct 2022 0932H | Gentleman Restaurant, #48 Polaris Center, Polaris St., Brgy. Poblacion, Makati City | Non_Residential/Assembly/ | Open flame ffrom cooking/LPG/Gas Stove |  | Negative | Negative | 80000 | SFO4 Macababayao SFO1 Pacubat SFO1 Umnas SFO1 Balleta
F | 21 | 28 Oct 2022 2035H | SLEX Skyway, Brgy. Magallanes, Makati City | Transport/Automobile/ | Battery Short Circuit |  | Negative | Negative | 20000 | SFO4 Macababayao SFO1 Pacubat SFO1 Umnas SFO1 Balleta
S | 22 | 29 Oct 2022 1800H | 5538 Boyle St.,Brgy. Palanan | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Macababayao SFO1 Pacubat SFO1 Umnas SFO1 Balleta
S | 23 | 29 Oct 2022 2005H | 7125 M Ocampo St., Brgy. Pio del Pilar, Makati City | Residential/Single Family Dwelling/ | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Macababayao SFO1 Pacubat SFO1 Umnas SFO1 Balleta
S | 24 | 29 Oct 2022 2142H | Dalandan St., Brgy West Rembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Macababayao SFO1 Pacubat SFO1 Umnas SFO1 Balleta
2278300
FIRE INCIDENT REPORT IN MAKATI CITY
01-31 September 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
TH | 1 | 01 Sep 2022 2020H | Osmena Highway cor. Arnaiz St., Brgy. Pio del Pilar, Makati City | Transport_Automobile/Toyota Vios,Black, | Overheated Motor Engine |  | Negative | Negative | 10000 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta/SFO1 Umnas
SAT | 2 | 1252H 03 Sep 2022 | Ivory St., Brgy. Rizal, Makati City | Structural/Residential/Single Family Dwelling | Electrical Ignition caused by loosed connection | storeys | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta/SFO1 Umnas | 1
T | 3 | 06 Sep 2022 0622H | EDSA Estrella (South Bound) Brgy. Guadalupe Nuevo, Makati City | Transport_Automobile/Pajero, Color Red with Plate No. | Electrical Ignition caused by loosed connection |  | Negative | Negative | 5000 | SFO4 Macababayao / SFO1 Tuburan/FO3 Batalla
W | 4 | 07 Sep 2022 1733H | Martinez Unidos St., Brgy. Sta. Cruz, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 1000 | SFO4 Macababayao / SFO1 Tuburan/FO3 Batalla
W | 5 | 07 Sep 2022 1912H | Davila Bliss, Brgy. Sta. Cruz, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 1000 | SFO4 Macababayao / SFO1 Tuburan/FO3 Batalla
TH | 6 | 08 Sep 2022 0735H | 401 Anahaw St., Brgy. Comembo, Makati City | Non_Residential/Mercantile/Riclyn's Bakery | Electrical Ignition caused by loosed connection | FSIC | Negative | Negative | 2000 | SFO4 Macababayao / SFO1 Tuburan/FO3 Batalla | 1 | no fsic
TH | 7 | 08 Sep 2022 1620H | 4672 Evangelista cor. Cuanco St., Brgy. Pio Del Pilar, Makati City | 2-Storey Non_ResidentialStorage/ No. of Affected Structure:1 | Fire Under Investigation Cause: Ignition of Materials Caused byAcetylene |  | Negative | Negative | 150000 | SFO4 Macababayao / SFO1 Tuburan/FO3 Batalla | 2 | no fsic | 1 | with progress
F | 8 | 09 Sep 2022 0335H | Block 28 Lot 2 Zone 6 Tarhata cor. Sampaguita Sts., Brgy. Pembo, Makati City | Non_Residential/Mercantile/ | Electrical Ignition caused by loosed connection | No. of Affected structure FSIC | Negative | Negative | 45000 | SFO4 Macababayao / SFO1 Tuburan/FO3 Batalla | 1 | no fsic
S | 9 | 10 Sep 2022 2217H | 89-B A. Bonifacio St., Brgy. Valenzuela, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 1000 | SFO4 Macababayao / SFO1 Tuburan/FO3 Batalla
TH | 10 | 15 Sep 2022 0114H | Gen. Luna St., cor. Makati Ave., Brgy. Poblacion, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Dalmacio/SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TH | 11 | 15 Sep 2022 0805H | Pililia cor. Kalayaan St., Brgy. STA. Cruz, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Dalmacio/SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
SAT | 12 | 17 Sep 2022 1922H | 9214 Pateros St., Brgy. Valenzuela, Makati City | Residential/Single Family Dwelling/ | Overheated Home Appliances | storeys? | Negative | Negative | 2000 | SFO4 Dalmacio/SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
M | 13 | 19 Sep 2022 0003H | 1070 Delpan St., Brgy. Kasilawan, Makati City | Structural/Residential/Single Family Dwelling Suspect is At-Large ( For Regular Filing) | Arson/Intentional Fire by used of Open Flame coming from a lighter or matchsticks |  | Negative | Negative | 1000 | SFO4 Dalmacio/SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta | 1
| 14 | 19 Sep 2022 1736H | 3307 Matanzas St.,Brgy. Palanan, Makati City | Structural/Residential/Single Family Dwelling | Electrical Ignition caused by loosed connection |  | Negative | Negative | 1000 | SFO4 Dalmacio/SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
T | 15 | 20 Sep 2022 1621H | #2907-A South Ave., Brgy. Olympia, Makati City | 4-Storey Residential/Single Family Dwelling/ | Open Flame from Cooking (Burner) |  | Negative | Negative | 1000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
TH | 16 | 22 Sep 2022 1037H | #847 4th Floor Phase 1 Guadalupe Bliss Brgy. Cembo, Makati City | Structural/Residential/Apartment Building | Open Flame from Cooking (Burner) |  | Negative | Negative | 300 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla | 4 | no fsic
M | 17 | 26 Sep 2022 0259H | Unit 205 FCC Building Cailles St., Brgy. Bangkal, Makati City | Residential/Apartment Bldg | Open Flame from Cooking (Burner) |  | Negative | Negative | 1000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
W | 18 | 28 Sep 2022 0904H | St. Mary of the Woods School, 1273 Batangas cor. Faraday St., Brgy. San Isidro, Makati City | 4-Storey Non_Residential/Educational/ | Electrical Ignition caused by loosed connection | 1st Alarm | Negative | Negative | 5000 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta | 4 | no fsic | 1
F | 19 | 30 Sep 2022 0633H | 026 Magnolia St., Zone 1, Brgy. Rizal, Makati City | Residential/Single Family Dwelling | Electrical Ignition caused by loosed connection | storeys? | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta
f | 20 | 30 Sep 2022 0904H | 2758 Capinpin cor. P. Binay Sts., Brgy. Bangkal, Makati City | 2-Storey Residential/Single Family Dwelling/ | Ignition of materials caused by welding slags |  | Negative | Negative | 500 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta | 2
f | 21 | 30 Sep 2022 1225H | #5770 Ebro St., Brgy. Poblacion, Makati City | 2-Storey Non_ResidentialMercantile/ No. of Affected structure: 1 | Fire Under Investigation Cause: Electrical Ignition Caused by Sparks from a punctured or damaged insulation probably due to rat bites and some other forms of anaimal disturbance | 1st Alarm | Negative | Negative | 400000 | SFO4 Dalmacio, SFO1 Pacubat, SFO1 Umnas, SFO1 Balleta | 2 | 1 | fsic yes
628800
FIRE INCIDENT REPORT IN MAKATI CITY
01-30 August 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
F | 1 | 05 Aug 2022 1357H | 21st Ave, A. Mabini St., Brgy. West Rembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
F | 2 | 05 Aug 2022 1404H | #2337 Nuestra Senora De Antipolo St., Brgy. Guadalupe Nuevo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
F | 3 | 05 Aug 2022 2240H | 442 Kamagong St., Brgy. Comembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by overloading |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
F | 4 | 05 Aug 2022 2353H | 3306 Matanzas St., Brgy. Palanan, Makati City | Residential-_Single and Two Family Dwelling | Electrical Ignition caused by overloading |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TU | 5 | 09 Aug 2022 1816H | Legazpi Place, Adelantado St., Legazpi Village, San Lorenzo Makati City | Non_Structural/Grass Fire | Smoking (lighted cigarette) |  | Negative | Negative | 200 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
W | 6 | 10 Aug 2022 0344H | Pembo Public Market, Brgy. Pembo, Makati City | Non-Residential_Mercantile | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
TH | 7 | 11 Aug 2022 2136H | Pateros St., Brgy. Valenzuela, Maktai City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
SA | 8 | 13 Aug 2022 1408H | Pares 96 St., Nuestra Senora de Antipolo St., Brgy. Guadalupe Nuevo, Makati City | Non-Residential_Mercantile/Pares 96 | Open Flame from Cooking (Burner) |  | Negative | Negative | 200 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
SA | 9 | 13 Aug 2022 2314H | Primepower Services, #2314H Kalayaan ave. Brgy. Pinagkaisahan, Makati City | Non-Residential_Business/ 5-Storeys Primepower Sevices/ | Fire Under Investigation Cause: Electrical Igniton Caused by Arcing |  | Negative | Negative | 1200000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
SU | 10 | 14 Aug 2022 0430H | Ellis Building., Leviste cor. H.V Dela Costa Brgy. Bel Air, Makati City | Residential_Condominium/30-Storeys Ellis Building (Under Construction) | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
M | 11 | 15 Aug 2022 1423H | 1655 Evangelista St., Brgy. Bangkal, Makati City | Residential_Single and Two Family Dwelling/ | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TU | 12 | 16 Aug 2022 1220H | Arnaiz St., cor. Edsa, MMDA Flood Control Genset, Brgy San Lorenzo, Makati City | Non-Residential_Storage/MMDA | Other causes of fire incident |  | Negative | Negative | 5000 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TH | 13 | 18 Aug 2022 0842H | 1739 Dian St., cor., Dayap St., Brgy. Palanan, Makati City | Non-Residential_Business | Ignition of materials caused by welding slags |  | Negative | Negative | 2000 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta | 1202000
TH | 14 | 18 Aug 2022 1950H | 1540 A. Mendoza St., Brgy. Kasilawan, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
M | 15 | 22 Aug 2022 1950H | Unit 13 Manila Polo Club Townhouse, Brgy. Forbes Park, Makati City | 2-Storey Residential_Single and Two Family Dwelling/ | Fire Under Investigation Cause: Leakage from LPG | 1st Alarm | Negative |  | 400000 | SFO1 Pacubat/SFO1 Umnas/SFO1Tuburan | 400
TU | 16 | 23 Aug 2022 0705H | #5895 San Joaquin St., Brgy. Olympia, Makati City | 2-Storey Residential_Single and Two Family Dwelling/ | Electrical Ignition caused by arcing |  | Negative | Negative | 48000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla | 50000
W | 17 | 24 Aug 2022 1905H | Blk 3 Lot 6 Col. Santos Ext. South Cembo, Makati City | 2-Storey Residential_Single and Two Family Dwelling/ | Open Flame from unattended lighted candle |  | Negative | Negative | 2000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla | 458500
TH | 18 | 25 Aug 2022 0345H | #8628 Sgt, F. Yabut Circle, Brgy. Guadalupe Nuevo, Makati City | Transport_Motorcycle/ Name of Suspect: | Simple Arson/PD1613/ INTENTIONAL FIRE BY USE OF OPEN FLAME (MATCHSTICK OR LIGHTER OR LIGHT TORCH) |  | Negative | Negative | 50000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla | 5000
TH | 19 | 25 Aug 2022 1630H | #1319 Barrio Visaya, Brgy. Guadalupe Nuevo, Makati City | 2-Storey Residential_Single and Two Family Dwelling/ | Electrical Ignition caused by overloading |  | Negative | Negative | 2000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla | 4200
TH | 20 | 25 Aug 2022 2243H | Commando cor. Aligator Sts., Brgy. Rizal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 1000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla | 200
SU | 21 | 28 Aug 2022 2055H | Adelantado St., Bel-Air, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 1000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
M | 22 | 29 Aug 2022 1551H | Unit 2515 City Land, Makati Executive Tower 4, Brgy. Pio del Pilar, Makati City | Structural/Residential_Single and Two Family Dwelling/ | Overheated Home Appliance |  | Negative | Negative | 5000 | SFO1 Pacubat/SFO1 Umnas/SFO1Balleta
[9 empty] | 1720300 |  | 1720300
FIRE INCIDENT REPORT IN MAKATI CITY
01-31 July 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
| 1 | 03 July2022 2128H | Jacinto cor South Sea Sts., Brgy. Rizal, Makati City | Transport/Automobile/Mitsubushi Van- | Overheated Motor Engine |  | Negative | Negative | 5000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla | 60000
| 2 | 04 July2022 1903H | 5718 29th Ave,Brgy East Rembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta
| 3 | 05 July 2022 1523H | Apitong St., Brgy Comembo, Makati City | Non_Structural-Rubbish | Smoking (lighted cigarette) |  | Negative | Negative | 500 | SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta
| 4 | 05 July 2022 2146H | 5112 P Burgos St.,cor Osmena, Brgy. Poblacion, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta | 31500
| 5 | 06 July 2022 1541H | Cavalry Hills, Brgy East Rembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta | Non-Residential_Business/Hamilton Center(3-Storey)
| 6 | 07 July 2022 2246H | Belarmino ST., Cor. Apolinario, Brgy. Bangkal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta |  |  |  |  | 14
| 7 | 10 July 2022 2031H | Juan Luna St., cor. South C, Zone 3, Brgy. Rizal, Makati City | Non_Structural-Rubbish | Smoking (lighted cigarette) |  | Negative | Negative | 0 | SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta | 700 |  |  |  | 19
| 8 | 11 July 2022 1700H | Lugao Restaurant #5779 Felipe St., Brgy. Poblacion, Makati City | Non-Residential_ | Under Investigation Cause: Overheated Electric Fan Motor (Home appliances) |  | Negative | Negative | 54000 | SFO4 Macacabayao/SFO1 Tuburan/FO3 Batalla |  |  |  |  | 12
| 9 | 15 July 2022 1546H | Neptune St. cor Makati Ave, Brgy Bel-Air | Transport/Automobile/Hyundai Accent Crystal White / Gas with Plate Numb | Under Investigation Cause: Electrical Ignition Caused by Loosed Connection |  | Negative | Negative | 50000 | SFO4 Macacabayao/SFO1 Tuburan/FO3 Batalla | 5500 |  |  |  | 14
| 10 | 16 July 2022 2155H | 517 Cebu St., Brgy Pitogo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Macacabayao/SFO1 Tuburan/FO3 Batalla |  |  |  |  | 13
| 11 | 18 July 2022 1143H | Anastacio St., Brgy Guadalupe Nuevo | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Dalmacio/SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta |  |  |  |  | 5
| 12 | 18 July 2022 2148H | 4th Ave. Riverside, Brgy. East Rembo | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Dalmacio/SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta |  |  |  |  | 1
| 13 | 21 July 2022 0841H | Camino Anastacio St., Guadlupe Nuevo | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO4 Dalmacio/SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta |  |  |  |  | 7
| 14 | 21 July 2022 1658H | Century City Mall, L5 Kalayaan Ave cor Salamanca St., Brgy Poblacion, Makati City | Non_Residential/Mixed Occupancies/ | Fire Under Investigation Cause: Excessive heating overtime caused by corrosive environment affecting the electrical components in the electrical panel board | 1st Alarm | Negative | Negative | 1600000 | SFO4 Dalmacio/SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta |  |  |  |  | 10
| 15 | 23 July 2022 1418H | #63 Teachers Compound, Brgy. West Rembo, Makati City | Storey Residential-_Single and Two Family Dwelling/ | Smoking (lighted cigarette) |  | Negative | Negative | 1500 | SFO4 Dalmacio/SFO1 Umnas/SFO1 Pacubat/SFO1 Balleta |  |  |  |  | 10
| 16 | 26 July 2022 0328H | #276 MCDA Compound, J. P. Rizal Avenue, Brgy. Cembo, Makati City | 3-Storey Storey Residential-_Single and Two Family Dwelling | Arson (Butane) At the 3rd floor of the house | 2nd Alarm | 1. Susan Balen, 46 y/o, Female, suffered multiple organ failure | 1. Norman Rios, 31 y/o, Male, Abrasions on his right knee | 30000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla |  |  |  |  | 9
| 17 | 26 July 2022 0329H | Dayap St., cor. Bautista. Bry, Palanan | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla |  |  |  |  | 12
| 18 | 27 July 2022 1108H | Pason Tamo (In-between Marvin Plaza and SMDC Bldg, Brgy. Pio Del Pilar, Makati City | Non-Structural_Rubbish | Smoking (lighted cigarette) |  | Negative | Negative | 200 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla |  |  |  |  | 126
| 19 | 27 July 2022 1428H | The Link (Infront of Ayala Museum) Makati Avenue., Brgy. San Lorenzo, Makati City | Transport_Automobile/Toyota Corola, 2010 year model, with plate num | Overheated Engine (Motor Vehicle) |  | Negative | Negative | 5000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
| 20 | 27 July 2022 2035H | 325 JP Rizal, Brgy. Tejeros, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
| 21 | 29July 2022 1442H | #9598 Hamilton Center, Kamagong St., San Antonio, Makati City | Non-Residential_Business/Hamilton Center(3-Storey) | Fire Under Investigation Cause: Electrical Ignition Caused by Short Circuit | 1st Alarm | Negative | Negative | 700000 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
| 22 | 31July 2022 1442H | Blk 329 Lot 17 Penguin St., Brgy. Rizal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Macababayao/SFO1 Tuburan/FO3 Batalla
2451700
FIRE INCIDENT REPORT IN MAKATI CITY
01-30 June 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
F | 1 | 03 June 2022 2128H | Osmena, Brgy. Valenzuela, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla | 0
F | 2 | 03 June 2022 2118H | Camalig St., Brgy. Palanan,Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla | 7600
Sun | 3 | 05 June 2022 2118H | Anastacio St., Brgy. Guadalupe Nuevo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
M | 4 | 06 June 2022 2247H | B2 L32 Aster St., Target Range, Brgy. Pembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TH | 5 | 09 June 2022 1116H | B5L17 Dahlia St., Brgy. Pembo, Makati City | Transport_Motorbike/E-Bike/ | Battery Short Circuit |  | Negative | Negative | 1000 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
F | 6 | 10 June 2022 0506H | Jevois Kalayaan, Brgy. Pinagkaisahan, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
M | 7 | 12 June 2022 1416H | 149 B5 Bayabas St., Brgy. West Rembo, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/Chary Lining Dantes/ | Electrical Ignition caused by loosed connection | 1st Alarm | Negative | Negative | 5000 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TU | 8 | 14 June 2022 2351H | E. Serrano St., JP Rizal, Brgy West Rembo,Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 0 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
W | 9 | 15 June 2022 0057H | Pili St., Brgy. West Rembo | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 0 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
F | 10 | 17 June 2022 0013H | Dian cor Emilia St., Brgy. Palanan,Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
SUN | 11 | 18 June 2022 2313H | Jacobo St. cor Don Pedro, Brgy Poblacion, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
Sun | 12 | 19 June 2022 1816H | B61 L15 Macopa St., Brgy.Rizal,Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
M | 13 | 20 June 2022 1300H | Emilia cor. Guernica St., Brgy. Palanan, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
M | 14 | 20 June 2022 1424H | Multipurpose Hall, 1888 Compound, Coryville, Eureka St., Brgy. La Paz, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
M | 15 | 20 June 2022 2129H | Serrano St., Brgy. West Rembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
M | 16 | 20 June 2022 2310H | 330A Kalamansi St., Brgy. Cembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TU | 17 | 21 June 2022 2026H | 1271 C. Francisco St., Brgy. Kasilawan, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
W | 18 | 22 June 2022 0307H | Antipolo St., cor. Victor St., Brgy. Guadalupe Nuevo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
W | 19 | 22 June 2022 2310H | Don Pedro St., Brgy. Poblacion, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
W | 20 | 22 June 2022 2310H | 1606 Nunez St., cor. A Mendoza St., Brgy. Kasilawan, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
TH | 21 | 23 June 2022 2223H | 2234 P. Binay St., cor. Estrella St., Brgy. Bangkal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
F | 22 | 24 June 2022 1833H | AP Reyes Ave., Brgy. Tejeros, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
Sun | 23 | 26 June 2022 0317H | 131 Apitong St., Brgy. Comembo, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO1 Pacubat/SFO1 Umnas/SFO1 Balleta
tu | 24 | 28 June 2022 1107H | Apolinario cor. Capinpin Sts, Brgy. Bangkal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
tu | 25 | 28 June 2022 1954H | Magsaysay St., Brgy. Guadalupe Nuevo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Tuburan/FO3 Batalla
FIRE INCIDENT REPORT IN MAKATI CITY
01-31 May 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
TU | 1 | 03 May 2022 2103H | 4240 Mojica St., Brgy. Bangkal, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/SFO1 Tuburan
W | 2 | 04 May 2022 0834H | Blk 5 Lot 6 Durian St., Target Range, Brgy. Pembo, Makati City | 4-Storey Residential-_Single and Two Family Dwelling | Open flame from Cooking |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/SFO1 Tuburan
SU | 3 | 08 May 2022 0224H | #363 Sen Gil Puyat, Brgy. Bel-Air, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/SFO1 Tuburan
su | 4 | 08 May 2022 1554H | Mayapis St. near Buendia PNR Station, Brgy. San Antonio, Makati City | Non_Structural/Grass Fire | Smoking (Lighted Cigarette Butt) |  | Negative | Negative | 0 | SFO3 Macacabayao/SFO1 Umnas/SFO1 Tuburan
m | 5 | 09 May 2022 0042H | 165 Pili St., Brgy. West Rembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas
M | 6 | 09 May 2022 1256H | Gil Puyat cor Chino Roces Ave., Brgy. Pio del Pilar, Makati City | Non_Structural/Transport/Motor Vehicle/ | Overheated Motor Engine |  | Negative | Negative | 10000 | SFO1 Pacubat/SFO1 Umnas
TU | 7 | 10 May 2022 2308H | Yakal St., Brgy San Antonio, Makati City | Non_Structural/Grass Fire/Vacant Area | Smoking (Lighted Cigarette Butt) |  | Negative | Negative | 0 | SFO1 Pacubat/SFO1 Umnas
W | 8 | 11 May 2022 1151H | Camachile cor Mayapis St., Brgy San Isidro, Makati City | Non_Structural/Rubbish Fire/Vacant Area | Smoking (Lighted Cigarette Butt) |  | Negative | Negative | 0 | SFO1 Pacubat/SFO1 Umnas
W | 9 | 11 May 2022 1907H | 7707 St Paul St., Brgy San Antonio, Makati City | Non_Structural/Rubbish Fire/Vacant Area | Smoking (Lighted Cigarette Butt) |  | Negative | Negative | 0 | SFO1 Pacubat/SFO1 Umnas
TH | 10 | 12 May 2022 0756H | Skyway SB Kapinpin St., Magallanes, Brgy Bangkal, Makati City | Non_Structural/Transport/Automobile/ | Overheated Motor Engine |  | Negative | Negative | 1000 | SFO1 Pacubat/SFO1 Umnas
F | 11 | 13 May 2022 1950H | #4150 Olivarez St., Brgy. Palanan, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas
SA | 12 | 14 May 2022 0420H | 1831 Dian St., Brgy Palanan, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ | Arson (P.D. 1613) Filed on 16 May 2022 at the Office of the City Prosecutor, Makati City with NPS Docket No. XV-05-INV-22E 0497 INTENTIONAL FIRE BY USE OF OPEN FLAME (MATCHSTICK OR LIGHTER OR LIGHT TORCH) |  | Negative | Negative | 5000 | SFO1 Pacubat/SFO1 Umnas
SA | 13 | 14 May 2022 1316H | Ricarte St., Brgy. South Cembo, Makati City | Non_Structural/Rubbish Fire/Vacant Area | Smoking (Lighted Cigarette Butt) |  | Negative | Negative | 0 | SFO1 Pacubat/SFO1 Umnas
SA | 14 | 14 May 2022 2335H | 4173 Gabaldon St.,Brgy. Poblacion, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas
su | 15 | 15 May 2022 1526H | 004 Durian St., Brgy. Pembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao//SFO1 Tuburan/FO3 Batalla
TU | 16 | 17 May 2022 1944H | SM Cyber One #373 Gil Puyat cor. Jupiter St., Brgy. Bel-Air, Makati City | Non_Residential/Special Structure/ | Other Causes of Fire Incident (Short Circuit) Involved : Signage |  | Negative | Negative | 1000 | SFO3 Macacabayao//SFO1 Tuburan/FO3 Batalla
SU | 17 | 22 May 2022 1838H | Yakal St., Brgy San Antonio, Makati City | Non_Structural/Rubbish Fire/Vacant Area | Smoking (Lighted Cigarette Butt) |  | Negative | Negative | 200 | SFO3 Macacabayao//SFO1 Tuburan/FO3 Batalla
TU | 18 | 24 May 2022 2152H | B273L120 Aguila St., Target Range, Brgy. Pembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas
TU | 19 | 24 May 2022 2203H | Malvar St., cor A. Bonifacio St., Brgy. West Rembo | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas
W | 20 | 25 May 2022 2127H | 817 JP Rizal St., Brgy. Poblacion, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas
TH | 21 | 26 May 2022 1941H | B89 L28 Amarillo, Brgy Rizal, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 20000 | SFO1 Pacubat/SFO1 Umnas
F | 22 | 27 May 2022 1935H | 151 Pili Ave., Brgy. West Rembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/SFO1 Umnas
.POL,KIMUJNYHBTGRFV EDC`` | 23 | 28 May 2022 0517H | 6553 E. Ramos St., Brgy. Pio del Pilar, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ | Electrical Ignition caused ny arcing |  | Negative | Negative | 30000 | SFO1 Pacubat/SFO1 Umnas
SA | 24 | 28 May 2022 1808H | JP Rizal Extn. Cor. T. Alonzo St., Brgy. West Rembo, Makati City | Transport_Motorcycle | Battery Short Circuit/Battery Explosion |  | Negative | Negative | 10000 | SFO1 Pacubat/SFO1 Umnas
M | 25 | 30 May 2022 1128H | Spicy Restaurant, G/F Manila Peninsula Hotel, Ayala cor. Makati Avenues, Brgy. Urdaneta, Makati City | Non_Residential/Assembly | Open flame from Cooking (Stove) | 1st Alarm | Negative | Negative | 20000 | SFO3 Macababayao/SFO1 Tuburan/AIFO3 Batalla
M | 26 | 31 May 2022 2047H | Sitio Mansanas, Brgy. West Rembo, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused ny arcing |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Tuburan/AIFO3 Batalla
M | 27 | 31 May 2022 2300H | 4210 Madras St., Brgy. Palanan, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused ny arcing |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Tuburan/AIFO3 Batalla
103700
FIRE INCIDENT REPORT IN MAKATI CITY
01-30 April 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
F | 1 | 01 April 2022 1441H | 9038 San Nicolas St., Brgy. Guadalupe Nuevo, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/Elizabeth Duquilla-owner/Adrian Munoz-occupant | Overheated Home Appliance |  | Negative | Negative | 5000 | SFO1 Pacubat/FO1 Labuguen
F | 2 | 01 April 2022 1827H | G/F 106 Infinity Tower H.V. Dela Costa St. Bel-Air, Makati City | Non_Residential/Mercantile/32-Storey/The Wholesome Table Restaurant/Juan Elizarde-owner | Open flame from Cooking | 1st Alarm | Negative | Negative | 20000 | SFO1 Pacubat/FO1 Labuguen
SUN | 3 | 03 April 2022 1014H | J.P.Rizal St., Brgy. Olympia, Makati City | Non_ResidentialRamon | Sparks from Machinery/Special Structure |  | Negative | Negative | 1000 | SFO1 Pacubat/FO1 Labuguen
T | 4 | 05 April 2022 0834H | Pertierra St., Brgy. Poblacion, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
W | 5 | 06 April 2022 0211H | Kakarong St., Brgy. Sta. Cruz, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
TH | 6 | 07 April 2022 1407H | Camino dela Fe St., Brgy. Guadalupe Nuevo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
TH | 7 | 07 April 2022 1816H | Valero St., Cor. Sedeno St., Brgy. Bel-Air, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
TH | 8 | 07 April 2022 2104H | Lugawan sa Tejeros, #5880 Malolos St., Brgy. Tejeros, Makati City | Non_Residential/Mercantile/ | Open flame from Cooking |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
TH | 9 | 07 April 2022 2129H | Emerald St., Brgy. Pembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
SUN | 10 | 10 April 2022 2024H | JP Rizal cor Legaspi, Brgy. Olympia, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 200 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
M | 11 | 11 April 2022 1301H | 7123 Langka St., Brgy Comembo, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ No. of Houses Burned: 4 No. of Families Affected: 4 | Consummated Arson (P.D. 1613) Filed on l 2022 at the Office of the City Prosecutor, Makati City with NPS | 1st Alarm | Negative | Negative | 250000 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado | 279200
F | 12 | 15 April 2022 0013H | Pet Plans Tower EDSA, Brgy Guadalupe Viejo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
S | 13 | 16 April 2022 0900H | 3526-H Mola St. Brgy. La Paz | Residential/Single and Two Family Dwelling / | Overheated Home Appliance | 1st Alarm | Negative | Negative | 10000 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
S | 14 | 16 April 2022 1612H | 36 Phase 5 Teachers Compound Brgy. West Rembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
SUN | 15 | 17 April 2022 1245H | 25 Apartment Ridge Road Brgy. Urdaneta, Makati City | Transport_Motorcycle | Battery Short Circuit |  | Negative | Negative | 30000 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
SUN | 16 | 17 April 2022 0341H | 2554 Cervera St. Brgy. La Paz, Makati City | Residential/Single and Two Family Dwelling / | Open flame from Cooking (superkalan) |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
M | 17 | 18 April 2022 1730H | 1324 Bisaya St., Brgy. Guadalupe Nuevo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
T | 18 | 19 April 2022 0011H | 8/F DBP Head Office, Cruzada St. cor. Makati Ave., Brgy. Urdaneta, Makati City | Non_Residential/Business/ (14-Storey) Government-Owned No. of Establishment Burned: 1 | Fire Under Investigation Note: Case was forwarded to IID, NHQ due jurisdictional amount At the Treasury and Corporate Office located at the 8/F | 2nd Alarm | Negative | Negative | 16000000 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
F | 19 | 22 April 2022 1912H | Felipe St., Brgy. Poblacion, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
S | 20 | 23 April 2022 1839H | MRT Ayala Station, Brgy San Lorenzo, Makati City | Non_Structural/Rubbish Fire/Vacant Area | Smoking (lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
SUN | 21 | 24 April 2022 2135H | D Benito., cor Pascua St., Brgy. Carmona, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog
M | 22 | 25 April 2022 1156H | Jimenez St. Brgy. San Lorenzo Legaspi Village near Catcho Gonzales Building Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
M | 23 | 25 April 2022 1429H | 1759 Nicanor Garcia St., Brgy. Valenzuela, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
T | 24 | 26 April 2022 1219H | #2880 H. Santos St., Brgy. Tejeros, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
TH | 25 | 28 April 2022 1214H | #5113 San Antonio St., Brgy. Pio del Pilar, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ No. of Houses Burned: 7 No. of Families Affected: 15 (37 Individual) | Fire Under Investigation Cause: Electrical Ignition Caused by Overloading | 2nd Alarm | Negative | Negative | 3000000 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
F | 26 | 29 April 2022 0858H | 9047 Hormega St., Brgy. Olympia, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ | Overheated Home Appliances |  | Negative | Negative | 400 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
F | 27 | 29 April 2022 2321H | Alfonso cor. Permina Sts., Brgy. Poblacion, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen/FO1 Mamado
19324600
FIRE INCIDENT REPORT IN MAKATI CITY
March 01-31, 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
W | 1 | 02 March 2022 0746H | #9 Margarita St. Brgy. Magallanes, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/Angelita Recto No. of House Burned: 1 | UNDER INVESTIGATION Cause: Electrical Ignition Caused by Loosed Connection | 1st Alarm | Negative | Negative | 500000 | SFO1 Pacubat/FO1 Labuguen | 500000
SUN | 2 | 06 March 2022 1057H | Sitio 8 Blk 7 Kalayaan, Brgy. West Rembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO1 Pacubat/FO1 Labuguen | 200 | 2900
TH | 3 | 10 March 2022 0825H | South Cemetery, Brgy. Tejeros, Makati City | Non_Structural/Grass Fire | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog | 0
TH | 4 | 10 March 2022 1913H | 4774 Barasoain St., Brgy. Olympia, Makati City | Non_Structural/Rubbish Fire | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog | 0
S | 5 | 12 March 2022 2013H | 1004 Theresa St., Brgy. Valenzuela, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog | 500
S | 6 | 12 March 2022 2232H | Spring Beauty St., Blk 65, Brgy Pembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog | 500
SUN | 7 | 13 March 2022 0212H | 0038 JP Rizal Extn., Brgy Comembo, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Parohinog | 500
SUN | 8 | 13 March 2022 2255H | Sgt F Yabut St., Brgy Guadalupe Nuevo | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen | 500
TH | 9 | 15 March 2022 1351H | #9486 Anubing St. Brgy. San Antonio, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ No. of House Affected: 1 | Open flame from unattended lighted candle |  | Negative | Negative | 5000 | SFO1 Pacubat/FO1 Labuguen | 5000
TH | 10 | 17 March 2022 1430H | C5 Kalayaan North Bound East Rembo, Makati City | Transport/Automobile/ | Gasoline Leak in Engine Bay |  | Negative | Negative | 50000 | SFO1 Pacubat/FO1 Labuguen | 50000
TH | 11 | 17 March 2022 1702H | 1305 Puma St. Brgy. Rizal, Makati City | Non-Residential/Mercantile/ No. of Estab/House Affected: 3 | UNDER INVESTIGATION Cause: Electrical Ignition Caused by Piched Wire | 1st Alarm | Negative | Negative | 978983.3 | SFO1 Pacubat/FO1 Labuguen | 978983.3
M | 12 | 21 March 2022 1137H | 2/F The Landmark, Palm Drive cor Makati Ave., Brgy. San Lorenzo, Makati City | Non-Residential_Assembly/ | Overheated Industrial Machinery At the exhaust duct |  | Negative | Negative | 1000 | SFO3 Macacabayao/SFO1 Umnas/FO1 Mamado | 1000
T | 13 | 22 March 2022 0024H | Leji Cuizine Restaurant, G/F AGS Plaza, Washington St., Brgy. Pio del Pilar, Makati City | Non-Residential_Mercantile/ | OPen flame from Cooking At the exhaust duct |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Mamado | 500
T | 14 | 22 March 2022 1029H | Dusit Thani, 1223 Ayala Center, Brgy. San Lorenzo, Makati City | Non-Residential_Storage/ | Smoking (Lighted Cigarette) |  | Negative | Negative | 10000 | SFO3 Macacabayao/SFO1 Umnas/FO1 Mamado | 10000
W | 15 | 23 March 2022 2326H | 6627 E. Ramos St., Brgy. Pio Del Pilar, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macacabayao/SFO1 Umnas/FO1 Mamado | 500
F | 16 | 25 March 2022 1753H | 2153 Red Residences, Chino Roces Ave., Brgy. Pio del Pilar, Makati City | Non_Residential/Business/31-Storey No. of Estab Affected: 1 | UNDER INVESTIGATION | 2nd Alarm | Negative | Negative | 4000000 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 4000000
S | 17 | 26 March 2022 0325H | JP Rizal, Brgy. Comembo, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 500
S | 18 | 26 March 2022 2001H | 5581 Ilaya St., Brgy. Poblacion, Makati City | Residential/Dormitory/ (4-Storey) No. of House Burned: 1 | UNDER INVESTIGATION Cause: Electrical Ignition Caused by Loosed Connection | 1st Alarm | Negative | Negative | 400000 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 400000
SUN | 19 | 27 March 2022 1304H | Valdez St., Brgy. Poblacion, Makati City | Non_Structural/Rubbish Fire | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 0
SUN | 20 | 27 March 2022 1523H | Guadalupe Mall, P. Burgos, Brgy. Guadalupe Viejo, Makati City | Non_Residential/Business/Guadalupe Mall/ | Electrical Ignition caused ny loosed connection |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 500
M | 21 | 28 March 2022 1950H | 4299 Emilia St., Brgy Palanan, Makati City | Non_Structural/Transport Automobile/Elf 2009 | Ignition of materials caused by Acetylene |  | Negative | Negative | 10000 | SFO1 Pacubat/FO1 Labuguen/FO1 Parohinog | 10000
Th | 22 | 31 March 2022 0027H | 4299 Emilia St., Brgy Palanan, Makati City | Non_Structural/Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO1 Pacubat/FO1 Labuguen/FO1 Parohinog | 200
Th | 23 | 31 March 2022 0841H | Sampaguita St., Brgy. Pembo, Makati City | Transport Automobile/ABQ-1260, Toyota Vios (Taxi)/ | Battery Short Circuit |  | Negative | Negative | 10000 | SFO1 Pacubat/FO1 Labuguen/FO1 Parohinog | 10000
5969383.3
70000
FIRE INCIDENT REPORT IN MAKATI CITY
February 01-28, 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
| 1 | 02 Feb 2022 1006H | Block 13 7493 Bagtikan St. Brgy. San Antonio, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado | 200
| 2 | 04 Feb 2022 1525H | Bayabas St., Brgy. Comembo, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/ | Sparks from Machinery |  | Negative | Negative | 5000 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado | 5000
| 3 | 04 Feb 2022 2025H | 1245 Acacia St. cor. Mahogany Dasmariñas Village Nuevo, Brgy. Dasmarinas, Makati City | Non_Residential/Business/Russian Embassy/Russian Federation Govt | Under Investigation Note: Case was forwarded to IID, NHQ due to jurisdictional amount | 2nd Alarm | Negative |  | 101109576 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado | Forwarded to NHQ
| 4 | 05 Feb 2022 2150H | Adahlia St., Brgy. Rizal, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado | 500
| 5 | 06 Feb 2022 1306H | Edison St. cor. Arnaiz Avenue, Brgy. Pio del Pilar, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 500 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado | 500
| 6 | 07 Feb 2022 1807H | Evangelsita Cor. Del Pilar St., Brgy. Bangkal, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Pacubat/SFO1 Umnas | 500
| 7 | 07 Feb 2022 1920H | Blk 125 Lot 15, M.H Del Pilar Cor. South C., Brgy. Rizal, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Pacubat/SFO1 Umnas | 500
| 8 | 08 Feb 2022 1133H | 3913 South Ave., cor. Yague St., Brgy. Sta. Cruz, Makati City | 2-Storey Residential-_Single and Two Family Dwelling | Overheated Home Appliances | 1st Alarm | Negative | Negative | 40000 | SFO3 Macababayao/SFO1 Pacubat/SFO1 Umnas | 40000
| 9 | 08 Feb 2022 1620H | Blk 80 Lot 0005, Sweet Orange, Brgy. Rizal, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Pacubat/SFO1 Umnas | 500
| 10 | 08 Feb 2022 1943H | Camia St., Brgy. Guadalupe Viejo, Makati City | Non_ResidentialStorage/LGU-Makati | Overheated Home Appliances |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Pacubat/SFO1 Umnas | 500
| 11 | 09 Feb 2022 1411H | Tulay (Magallanes) North Bound Magallanes, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macababayao/SFO1 Pacubat/SFO1 Umnas | 0
| 12 | 11 Feb 2022 0241H | 84 Zodiac St., Bel-Air 4 Village, Makati City | 2-Storey Residential-_Single and Two Family Dwelling/Sollabec Holdings Corp. | Electrical Ignition caused by loosed connection |  | Negative | Negative | 10000 | SFO3 Macababayao/SFO1 Pacubat/SFO1 Umnas | 10000
| 13 | 14 Feb 2022 0925H | Cor. Pasong Tamo Kalayaan Ave., South Cemetery, Brgy. Sta. Cruz, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 0
| 14 | 17 Feb 2022 1311H | Constancia St., Brgy. Olympia, Makati City | 2-Storey Residential-_Single and Two Family Dwelling | Open Flame from cooking |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 500
| 15 | 17 Feb 2022 1543H | A. Venue Mall, B. Valdez cor. Makati Ave., Brgy. Poblacion, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 0
| 16 | 17 Feb 2022 1733H | Gomez St., Brgy. South Cembo, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 500
| 17 | 20 Feb 2022 0412H | Christ International Fellowship, Kalayaan Talipapa Market, #9642 Kalayaan Ave., Brgy. Guadalupe Nuevo, Makati City | Non_Residential/Assembly/Christ International Fellowship/3 Storey Bldg with Mezzanine and Basement/Mr Chui | Under Investigation Cause: Electrical due to loosed connection | 2nd Alarm |  | Negative | 4000000 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 3790143.7
| 18 | 20 Feb 2022 1800H | Salchuaga St., Brgy. Tejeros, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macababayao/SFO1 Umnas/FO1 Mamado | 0
| 19 | 21 Feb 2022 1520H | 376 Swing Fire St., Palar Village, Brgy Southside, Makati City | 3-Storey Residential-_Single and Two Family Dwelling/ | Electrical Ignition caused by loosed connection |  | Negative | Negative | 500 | SFO1 Pacubat/FO1 Labuguen | 500
| 20 | 23 Feb 2022 2049H | 74 Santol St., Brgy. Comembo, Makati City | Non_Structural/Electrical Post Fire/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO1 Pacubat/FO1 Labuguen | 200
| 21 | 27 Feb 2022 1111H | 8436 Coro Hotel, Kalayaan Ave cor Mercado St., Brgy Poblacion, Makati City | Non_Residential/Business/19F/ Coro Hotel/Brite House Corp | Electrical Ignition caused by loosed connection |  | Negative | Negative | 5000 | SFO1 Pacubat/FO1 Labuguen | 5000
[7 empty] | 105171076 | 3400 | 105174476 |  | 3855043.7
FIRE INCIDENT REPORT IN MAKATI CITY
January 01-31, 2022
| NO. | DATE/TIME | LOCATION | INVOLVED/ESTABLISHMENT NAME/OWNER/s-OCCUPANT/S | CAUSE/ORIGIN of FIRE/NATURE OF CASE | LEVEL OF ALARM | KILLED | INJURED | STATUS of CASE/AMOUNT of DAMAGE/ FAI-on-Case | FAI's
| 1 | 01 Jan 2022 0028H | 9154 Pateros St., Bgry. Olympia, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 JM Macababayao/ SFO1 RF Pacubat
| 2 | 03 Jan 2022 1307H | 2390 Godet cor. Mola Sts. Brgy. La Paz , Makati City | Residential_Single and Two Family Dwelling/ | Electrical Ignition Caused by Arcing |  | Negative | Negative | 100 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen
| 3 | 03 Jan 2022 1826H | Casino cor. Bautista Sts. Brgy. Palanan, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition Caused by Arcing |  | Negative | Negative | 200 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen
| 4 | 07 Jan 2022 1347H | C5 Kalayaan Elevated U turn slot Brgy. East Rembo , Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen
| 5 | 08 Jan 2022 1056H | 4326 A Tinio St. Brgy. Bangkal, Makati City | Residential_Single and Two Family Dwelling/ | Childen Playing Matchsticks |  | Negative | Negative | 1000 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen
| 6 | 09 Jan 2022 2245H | San Maximo St., Olympia, Brgy. Olympia, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen
| 7 | 10 Jan 2022 1339H | 9037 San Nicolas St., Brgy. Guadalupe Nuevo, Makati City | Residential_Single and Two Family Dwelling/ | Open Flame from Cooking |  | Negative | Negative | 200 | SFO4 Aguilar / SFO1 Pacubat/SFO1 Umnas
| 8 | 11 Jan 2022 0016H | 5315 Diesel St., Brgy. Palanan, Makati City | Non_Residential/ Special Structure | Ignition of Material due to Acetylene/Hotworks |  | Negative | Negative | 0 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 9 | 13 Jan 2022 1124H | Blk 325 Lot 13 Bluebird Extn., Brgy. Rizal, Makati City | Residential_Single and Two Family Dwelling/ | Childen Playing Matchsticks |  | Negative | Negative | 200 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 10 | 14 Jan 2022 0050H | Ambers Best Restaurant 1158 Chino Roces Ave., Brgy. San Antonio Village, Makati City | Non_Residential/ Mercantile/Ambers Best Restaurant | Overheated Home Appliances | 1st alarm | Negative | Negative | 10000 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 11 | 16 Jan 2022 1104H | 179-CP 27th Ave., Brgy. East Rembo, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 12 | 17 Jan 2022 2034H | 2031 M. Layug St., Brgy. San Miguel Village, Brgy. Poblacion, Makati City | 2-Storey Residential_Single and Two Family Dwelling/ | Electrical Ignition Caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 13 | 18 Jan 2022 1903H | 2483 Alexander St., Brgy. San Isidro, Makati City | 4-Storey Residential_Single and Two Family Dwelling/ | Open Flame from Unattended Lighted Candle |  | Negative | Negative | 5000 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 14 | 19 Jan 2022 1309H | Malugay St., Brgy. San Antonio, Makati City | Transpot/Motorcycle/ | Electrical Ignition Caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 15 | 23 Jan 2022 0149H | Blk 1 Lot 3 Guijo Ext., Brgy. Cembo, Makati City | Non_Structural/Rubbish | Smoking (Lighted Cigarette) |  | Negative | Negative | 0 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 16 | 23 Jan 2022 1729H | 0117 9th Ave., Brgy. East Rembo, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 17 | 24 Jan 2022 0448H | 0075 M.H. Del Pilar St., Brgy. Rizal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition Caused by loosed connection |  | Negative | Negative | 500 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 18 | 24 Jan 2022 0643H | Buting South Bound, Brgy. West Rembo, Makati City | Transport/Motorcycle/ | Electrical Ignition Caused by loosed connection |  | Negative | Negative | 5000 | SFO3 Macababayao / SFO1 Pacubat / SFO1 Umnas
| 19 | 26 Jan 2022 1603H | Block 8-02 Lot 1 Dove Street Brgy. Rizal, Makati City | 2-Storey Residential_Single and Two Family Dwelling/ | Electrical Ignition caused by arcing |  | Negative | Negative | 500 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado
| 20 | 26 Jan 2022 1844H | 3023 Gen G Del Pilar St. Brgy. Bangkal, Makati City | Non_Structural/Electrical Pole/Meralco | Electrical Ignition caused by arcing |  | Negative | Negative | 200 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen
| 21 | 26 Jan 2022 2100H | 261 T. Alonzo ext. Brgy. West Rembo, Makati City | 3-Storey Residential_Single and Two Family | Open Flame from cooking |  | Negative | Negative | 500 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado
| 22 | 27 Jan 2022 1849H | 1224 E. Jacinto St. Brgy. Guadalupe Nuevo,Makati City | Transport/Motorcycle/E-Bike/ | Battery Short Circuit/Explosion |  | Negative | Negative | 15000 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado
| 23 | 29 Jan 2022 1536H | 162 Lot 8 Adalla St., Brgy. Rizal, Makati City | Non-Residential_Special Structure/ | Electrical Ignition by Arcing |  | Negative | Negative | 10000 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado
| 24 | 30 Jan 2022 1908H | Mayapis St. cor. Yakal St. Brgy. San Antonio, Makati City | 2-Storey Non_Residential/Assembly/ | Open Flame from cooking |  | Negative | Negative | 5000 | SFO4 Aguilar / FO3 Batalla / FO1 Labuguen/FO1 Mamado
54900
33000
20500
1400
54900

## DAM PER MONTH
FIRE OCCURENCES CY 2022
Name of City:
MONTH | ESTIMATED DAMAGES |  |  | TOTAL
| STRUCTURAL | NON STRUCTURAL | VEHICULAR
January | 33000 | 20500 | 1400 | 54900
February | 105171076 | 3400 | 0 | 105174476
March | 5896483.3 | 2900 | 70000 | 5969383.3 | 5896483.3
April | 19287400 | 7200 | 30000 | 19324600 | 0
May | 77000 | 5700 | 21000 | 103700
June | 5000 | 7600 | 1000 | 13600
July | 2385500 | 6200 | 60000 | 2451700
August | 1665900 | 4400 | 50000 | 1720300
September | 609800 | 4000 | 15000 | 628800
October | 2250800 | 7500 | 20000 | 2278300
November | 4353500 | 3000 | 1000 | 4357500
December | 220550 | 3200 | 311000 | 534750
SUB TOTAL
GRAND TOTAL | 141956009.3 | 75600 | 580400 | 142612009.3
Prepared by: | Reviewed by: |  |  | Approved by:
Rizalie Villanueva - Tabnao | Richelle A Leal |  |  | EDUARDO S LABRADOR
NUP BFP | SFO3 BFP |  |  | INSP BFP
Investigation & Intelligence Unit | Lead Investigator IIU |  |  | Chief, Intelligence and Investigation Unit

## NHQ SUB 1-2-20 A
CAUSES OF FIRE IN MAKATI CITY 2022
DESCRIPTION | JAN | FEB | MAR | 1st Qtr | APR | MAY | JUN | 2nd Qtr | 1st Sem | JUL | AUG | SEP | 3rd Qtr | OCT | NOV | DEC | 4th Qtr | 2nd Sem | TOTAL
ELECTRICAL IGNITION CAUSED BY LOOSED CONNECTION | 4 | 4 | 7 | 15 | 10 | 11 | 15 | 36 | 51 | 8 | 5 | 6 | 19 | 7 | 4 | 6 | 17 | 36 | 87
ELECTRICAL IGNITION CAUSED BY OVERLOADING |  |  |  | 0 |  |  |  | 0 | 0 | 0 | 2 |  | 2 | 9 | 5 | 1 | 15 | 17 | 17
ELECTRICAL IGNITION DUE TO PINCHED WIRE |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
ELECTRICAL IGNITION CAUSED BY ARCING | 6 | 5 | 2 | 13 | 5 | 3 | 8 | 16 | 29 | 3 | 6 | 5 | 14 | 1 | 3 | 3 | 7 | 21 | 50
OVERHEATED INDUSTRIAL MACHINERY |  |  | 1 | 1 |  |  |  | 0 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 1
SPARKS FROM MACHINERY |  | 1 |  | 1 | 1 |  |  | 1 | 2 |  |  |  | 0 |  |  |  | 0 | 0 | 2
OVERHEATED HOME APPLIANCES | 1 | 2 |  | 3 | 3 |  |  | 3 | 6 |  | 1 | 1 | 2 | 1 | 2 |  | 3 | 5 | 11
ELECTRICAL POST FIRE TO STRUCTURAL FIRE |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
TRANSFORMER POLE FIRE TO STRUCTURAL FIRE |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
OPEN FLAME FROM COOKING (LPG / GAS STOVE, FIREWOOD) | 3 | 2 | 1 | 6 | 3 | 2 |  | 5 | 11 |  | 1 | 4 | 5 | 2 | 3 | 6 | 11 | 16 | 27
OPEN FLAME FROM UNATTENDED LIGHTED CANDLE | 1 |  | 1 | 2 |  |  |  | 0 | 2 |  | 1 |  | 1 |  | 2 | 2 | 4 | 5 | 7
OPEN FLAME FROM KEROSENE LAMP (GASERA) / LIGHTING TORCH (SULO) |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
OPEN FLAME FROM RUBBISH FIRE / BONFIRE TO STRUCTURAL FIRE |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
OPEN FLAME FROM FARMLAND / AGRICULTURAL LAND CLEARING OPERATION |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
OPEN FLAME FROM KAINGIN (SLASH AND BURN) |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
IGNITION CAUSED BY FIRECRACKER EXPLOSION |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
IGNITION CAUSED BY FIREWORKS / PYROTECHNICS EXPLOSION |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
IGNITION CAUSED BY BOMB EXPLOSION |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
SPONTANEOUS COMBUSTION OF CHEMICALS |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
SPONTANEOUS COMBUSTION OF SOLID MATERIALS |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
INTENTIONAL FIRE BY USE OF INCENDIARY DEVICE OR MECHANISM |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
INTENTIONAL FIRE BY USE OF FLAMMABLE LIQUID |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
INTENTIONAL FIRE BY USE OF OPEN FLAME (MATCHSTICK OR LIGHTER OR LIGHT TORCH) | 2 |  |  | 2 |  | 1 |  | 1 | 3 |  | 1 |  | 1 |  |  |  | 0 | 1 | 4
IGNITION OF MATERIAL CAUSED BY WELDING SLAGS |  |  |  | 0 |  |  |  | 0 | 0 |  | 1 | 1 | 2 |  | 1 | 2 | 3 | 5 | 5
IGNITION OF MATERIALS CAUSED BY ACETYLENE / OTHER HOT WORKS | 1 |  | 1 | 2 |  |  |  | 0 | 2 |  |  |  | 0 |  |  |  | 0 | 0 | 2
LPG EXPLOSION CAUSED BY DEFECTIVE TANK |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
LPG EXPLOSION CAUSED BY DEFECTIVE HOSE LINE |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
LPG EXPLOSION CAUSED BY DEFECTIVE REGULATOR |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
LPG EXPLOSION CAUSED BY DEFECTIVE STOVE |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
LPG EXPLOSION CAUSED BY STATIC ELECTRICITY OR SPARK |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
FIRE CAUSED BY LIGHTNING |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
IGNITION OF MATERIALS FROM EMBER / FLYING EMBER OR ALIPATO |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
SMOKING(LIGHTED CIGARETTE, CIGAR OR PIPE) | 5 | 5 | 4 | 14 | 1 | 6 | 1 | 8 | 22 | 4 | 1 |  | 5 |  |  | 1 | 1 | 6 | 28
CHILDREN PLAYING MATCHSTICK OR LIGHTER |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
BATTERY SHORT CIRCUIT OR BATTERY EXPLOSION | 1 |  | 1 | 2 | 1 | 1 |  | 2 | 4 |  |  |  | 0 | 1 | 1 | 1 | 3 | 3 | 7
DUST EXPLOSION |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
MAGNIFIED / AMPLIFIED SUN RAYS |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
OVERHEATED ENGINE (MOTOR VEHICLES) |  |  |  | 0 |  | 2 |  | 2 | 2 | 2 |  | 1 | 3 |  | 1 |  | 1 | 4 | 6
SKY LANTERN |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
FIRE INCIDENT UNDER INVESTIGATION (ON PROCESS) |  | 2 | 4 | 6 | 3 |  |  | 3 | 9 | 5 | 2 | 3 | 10 | 2 | 2 | 2 | 6 | 16 | 25
UNDETERMINED FIRE CAUSE (ON PENDING INVESTIGATION) |  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0 | 0 | 0
OTHER CAUSES OF FIRE INCIDENT |  |  | 1 | 1 |  | 1 | 1 | 2 | 3 |  | 1 |  | 1 | 1 |  |  | 1 | 2 | 5
TOTAL | 24 | 21 | 23 | 68 | 27 | 27 | 25 | 79 | 147 | 22 | 22 | 21 | 65 | 24 | 24 | 24 | 72 | 137 | 284
Prepared by: | Reviewed by: | [9 empty] | Approved by:
Rizalie Villanueva - Tabnao | Richelle A Leal | [9 empty] | EDUARDO S LABRADOR
NUP BFP | SFO3 BFP | [9 empty] | INSP BFP
Investigation & Intelligence Unit | Lead Investigator IIU | [9 empty] | Chief, Intelligence and Investigation Unit
n
19
24
18
23
48
132

## CONSO PER BGY 2022
MAKATI CITY FIRE INCIDENT STATISTICS PER BARANGAY FOR CY 2011- 2021
NO. | BARANGAY | CALENDAR YEAR | [11 empty] | TOTAL NO. OF F/I
|  | 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012 | 2011
1 | BANGKAL | 15 | 17 | 28 | 30 | 15 | 15 | 23 | 32 | 22 | 25 | 15 | 16 | 221
2 | BEL-AIR | 9 | 8 | 9 | 14 | 22 | 12 | 17 | 13 | 26 | 28 | 20 | 10 | 171
3 | CARMONA | 1 | 1 | 1 | 3 | 3 | 2 | 1 | 3 | 0 | 5 | 3 | 3 | 24
4 | CEMBO | 6 | 7 | 14 | 11 | 10 | 7 | 10 | 8 | 9 | 9 | 3 | 4 | 85
5 | COMEMBO | 12 | 19 | 19 | 18 | 21 | 16 | 15 | 19 | 4 | 10 | 13 | 4 | 139
6 | DASMARIÑAS | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 1 | 0 | 0 | 1 | 1 | 12
7 | EAST REMBO | 8 | 1 | 13 | 14 | 12 | 18 | 13 | 9 | 12 | 9 | 5 | 6 | 111
8 | FORBES PARK | 1 | 0 | 2 | 1 | 1 | 1 | 0 | 6 | 0 | 3 | 1 | 2 | 17
9 | GUADALUPE NUEVO | 20 | 17 | 11 | 19 | 21 | 19 | 15 | 14 | 15 | 14 | 19 | 13 | 160
10 | GUADALUPE VIEJO | 4 | 6 | 5 | 4 | 4 | 5 | 0 | 5 | 7 | 3 | 11 | 4 | 48
11 | KASILAWAN | 5 | 2 | 0 | 5 | 0 | 6 | 4 | 4 | 2 | 3 | 3 | 3 | 30
12 | LA PAZ | 5 | 4 | 6 | 5 | 2 | 15 | 9 | 0 | 3 | 4 | 7 | 3 | 54
13 | MAGALLANES | 6 | 3 | 7 | 11 | 7 | 11 | 12 | 6 | 4 | 6 | 3 | 4 | 71
14 | NORTHSIDE |  | 0 | 0 | 0 | 1 | 1 | 2 | 4 | 0 | 0 | 0 | 0 | 8
15 | OLYMPIA | 10 | 19 | 20 | 19 | 22 | 8 | 17 | 12 | 11 | 15 | 10 | 8 | 142
16 | PALANAN | 19 | 12 | 9 | 19 | 21 | 18 | 24 | 20 | 13 | 21 | 5 | 17 | 167
17 | PEMBO | 13 | 9 | 15 | 22 | 20 | 15 | 16 | 16 | 17 | 13 | 9 | 6 | 149
18 | PINAGKAISAHAN | 2 | 6 | 2 | 0 | 5 | 2 | 4 | 8 | 1 | 2 | 3 | 1 | 28
19 | PIO DEL PILAR | 17 | 19 | 14 | 25 | 18 | 24 | 26 | 20 | 23 | 12 | 25 | 14 | 201
20 | PITOGO | 1 | 4 | 4 | 7 | 10 | 3 | 10 | 4 | 6 | 5 | 0 | 11 | 60
21 | POBLACION | 26 | 20 | 20 | 18 | 21 | 32 | 16 | 18 | 20 | 21 | 21 | 17 | 204
22 | RIZAL | 28 | 10 | 11 | 12 | 16 | 21 | 11 | 8 | 13 | 10 | 16 | 5 | 123
23 | SAN ANTONIO | 15 | 11 | 9 | 18 | 22 | 9 | 19 | 19 | 15 | 21 | 10 | 15 | 157
24 | SAN ISIDRO | 3 | 6 | 10 | 14 | 10 | 7 | 13 | 10 | 6 | 6 | 4 | 4 | 84
25 | SAN LORENZO | 8 | 8 | 17 | 26 | 9 | 21 | 16 | 17 | 15 | 15 | 19 | 15 | 170
26 | SINGKAMAS |  | 1 | 2 | 1 | 0 | 2 | 2 | 2 | 5 | 4 | 6 | 1 | 25
27 | SOUTH CEMBO | 3 | 0 | 0 | 4 | 2 | 2 | 1 | 3 | 4 | 3 | 3 | 3 | 25
28 | SOUTHSIDE | 2 | 1 | 3 | 2 | 0 | 1 | 5 | 0 | 0 | 1 | 1 | 1 | 14
29 | STA. CRUZ | 8 | 5 | 7 | 9 | 18 | 8 | 8 | 10 | 5 | 6 | 9 | 9 | 89
30 | TEJEROS | 7 | 7 | 10 | 13 | 11 | 18 | 19 | 25 | 17 | 14 | 12 | 7 | 146
31 | URDANETA | 3 | 1 | 0 | 3 | 2 | 1 | 2 | 6 | 1 | 3 | 3 | 2 | 23
32 | VALENZUELA | 8 | 11 | 12 | 8 | 5 | 6 | 8 | 8 | 17 | 13 | 7 | 8 | 92
33 | WEST REMBO | 18 | 15 | 26 | 23 | 17 | 18 | 19 | 20 | 7 | 10 | 10 | 16 | 166
TOTAL |  | 284 | 251 | 307 | 379 | 349 | 345 | 362 | 350 | 300 | 314 | 277 | 233 | 3216
Prepared by:
Rizalie V Tabnao
NUP BFP
| Note: |  |  |  |  | `
Updated on 06/25/2021 - rvt